TYPICAL SPECIFICATIONS

STORAGE ROLLER TRUNNIONS

SPECIFICATION  SECTION 11261 - Chlorination Equipment

Trunnion Base shall be of fabricated of ASTM-A36 steel and finished with a 2-part epoxy powder coating to resist corrosion.

Each trunnion block shall have 2 rollers made of ultra high molecular weight polyethylene (UHMW-PE) plastic with stainless steel shafts for ease of tank rotation and to prevent roller seizure.   The self-lubricating properties of UHMW-PE eliminate the need for periodic greasing.

Trunnions shall have slotted holes in each end to attach to floor with anchor bolts or lag bolts.

Trunnions shall carry a minimum of Five (5) Year Warranty.   “Limited” Warranties shall be considered unacceptable.

Trunnions shall be CHLOR-SCALE ®   Model 21L Trunnion Blocks as manufactured by FORCE FLOW, 2430 Stanwell Dive, Concord, CA 94520 USA (www.forceflow.com), or equal.

Model Number:

Model		Description

21L 		Roller Trunnion Set (2 per set).   Holds 1 ton container.

File:   _WEB\SPECS\PCS21LHY   02/03/03

FORCE FLOW 1-800-893-6723

FAX: 925-686-6713

TRUNNIONS