TYPICAL SPECIFICATIONS

STORAGE ROLLER TRUNNIONS

SPECIFICATION  SECTION 11261 - Chlorination Equipment

Trunnion Base shall be of fabricated of ASTM-A36 steel and 2-part epoxy finished to resist corrosion.

Rollers shall be zinc plated and equipped with bronze bushing for ease of tank rotation and to prevent roller seizure.   Roller pins shall be zinc plated steel with alemite grease fittings for ease of lubrication.

Frames shall have holes in ends to attach to floor with anchor bolts or lag bolts.

Trunnions shall carry a minimum of Five (5) Year Warranty.   “Limited” Warranties shall be considered unacceptable.

Trunnions shall be CHLOR-SCALE ®   Model 21L Trunnion Blocks as manufactured by FORCE FLOW, 2430 Stanwell Drive, Concord, CA 94520 USA (www.forceflow.com), or equal.

Model Number:

Model		Description

21L -STEEL		Roller Trunnion Set (2 per set).   Holds 1 ton container.

File:   _WEB\SPECS\PCS21LHY   02/03/03

FORCE FLOW 1-800-893-6723

FAX: 925-686-6713

TRUNNIONS